## Slide 1
mV to CO2/O2 concentrations & rates
Boyd et al., 2015 Plant Physiology
CO2 mM
CO2 mM
Vmax = 3.5 mmol s-1
Km = 65 mM
Notes: Family
Diversity of Kranz types
Identification of single cells & History

## Slide 2
Outline
O2 calibration
CO2 calibration in buffer
CO2 calibration in HCL
HCO3-/ CO2 ratio
How do we calculate rates of O2 (vo) and CO2 (vc) consumption?
How do we calculate the concentrations (mM) of O2 and CO2 during the assays?
Notes: So to summarize…

## Slide 3
Labview MIMS interface
Notes: There is a well-supported hypothesis that low atmospheric CO2, high temperatures, and aridity which leads to high rates of photorespiration provided strong selective pressures for the evolution of C4 photosynthesis, which uses a spatial separated carbon concentrating mechanisms to supply high concentrations of CO2 to Rubisco.

## Slide 4
Labview MIMS interface
Notes: There is a well-supported hypothesis that low atmospheric CO2, high temperatures, and aridity which leads to high rates of photorespiration provided strong selective pressures for the evolution of C4 photosynthesis, which uses a spatial separated carbon concentrating mechanisms to supply high concentrations of CO2 to Rubisco.

## Slide 5
Calibrations: O2 (m/z 32)
Two-component calibration
  Temperature dependent solubility (mM)
  mV value for water equilibrated with air
Temp solubility (mM) = =-0.0018*TºC^3 + 0.2229* TºC ^2 -12.387* TºC + 456.49
Notes: So to summarize…

## Slide 6
Calibrations: CO2 (m/z 44 & 45)
Two-component calibration: total CO2 & total inorganic carbon
  Total CO2 (mM mV-1)
Notes: So to summarize…

## Slide 7
Labview MIMS interface
Notes: There is a well-supported hypothesis that low atmospheric CO2, high temperatures, and aridity which leads to high rates of photorespiration provided strong selective pressures for the evolution of C4 photosynthesis, which uses a spatial separated carbon concentrating mechanisms to supply high concentrations of CO2 to Rubisco.

## Slide 8
Calibrations: CO2 (m/z 44 & 45)
Two-component calibration: total CO2 & total inorganic carbon
  Total CO2 (mM mV-1)
    600 mL of 1N HCL
    Three injections of 2 mL 10mM NaHCO3
Notes: So to summarize…

## Slide 9
Calibrations: CO2 (m/z 44 & 45)
Two-component calibration: total CO2 & total inorganic carbon
  Total CO2 (mM mV-1)
values | mV MIMS | mL 10mM NaHCO3 | final conc (mM)
Cal Zero | 7.0615 | 0 | 0
Cal 1 | 53.399 | 2 | 33.3
Cal 2 | 96.1059 | 4 | 66.6
Cal 3 | 136.9536 | 6 | 99.9
Chart: mV
| 7.0614999999999997 | 53.399000000000001 | 96.105900000000005 | 136.95359999999999
 | 0 | 33.3333 | 66.6667 | 100
Notes: So to summarize…

## Slide 10
Labview MIMS interface
Notes: There is a well-supported hypothesis that low atmospheric CO2, high temperatures, and aridity which leads to high rates of photorespiration provided strong selective pressures for the evolution of C4 photosynthesis, which uses a spatial separated carbon concentrating mechanisms to supply high concentrations of CO2 to Rubisco.

## Slide 11
Labview MIMS interface
Notes: There is a well-supported hypothesis that low atmospheric CO2, high temperatures, and aridity which leads to high rates of photorespiration provided strong selective pressures for the evolution of C4 photosynthesis, which uses a spatial separated carbon concentrating mechanisms to supply high concentrations of CO2 to Rubisco.

## Slide 12
Calibrations: CO2 (m/z 44 & 45)
Two-component calibration: total CO2 & total inorganic carbon
  Total inorganic C (mM total C mV-1)
    600 mL of pH 7.6 buffer
    Three injections of 6 mL 100mM NaHCO3
Notes: So to summarize…

## Slide 13
Calibrations: CO2 (m/z 44 & 45)
Two-component calibration: total CO2 & total inorganic carbon
  Total inorganic C (mM total C mV-1)
Chart: mV
| -18.796600000000002 | 39.218600000000002 | 96.169899999999998 | 151.98699999999999
 | 0 | 1000 | 2000 | 3000
values | mV MIMS | vol of 10mM NaHCO3 | final conc (mM)
Cal buffer zero | 29.6769 | 0 | 0
Cal buffer 1 | 97.4796 | 6 | 1000
Cal buffer 2 | 164.2019 | 12 | 2000
Cal buffer 3 | 230.2051 | 18 | 3000
Notes: So to summarize…

## Slide 14
Labview MIMS interface
Notes: There is a well-supported hypothesis that low atmospheric CO2, high temperatures, and aridity which leads to high rates of photorespiration provided strong selective pressures for the evolution of C4 photosynthesis, which uses a spatial separated carbon concentrating mechanisms to supply high concentrations of CO2 to Rubisco.

## Slide 15
Labview MIMS interface
Notes: There is a well-supported hypothesis that low atmospheric CO2, high temperatures, and aridity which leads to high rates of photorespiration provided strong selective pressures for the evolution of C4 photosynthesis, which uses a spatial separated carbon concentrating mechanisms to supply high concentrations of CO2 to Rubisco.

## Slide 16
Calibrations: CO2 (m/z 44 & 45)
Total inorganic carbon to CO2 ratio
Chart: mV
| 29.6769 | 97.479600000000005 | 164.20189999999999 | 230.20509999999999
 | 0 | 1000 | 2000 | 3000
Chart: mV
| 7.0614999999999997 | 53.399000000000001 | 96.105900000000005 | 136.95359999999999
 | 0 | 33.3333 | 66.6667 | 100
Notes: So to summarize…

## Slide 17
Calibrations: CO2 (m/z 44 & 45)
pH and the HCO3- to CO2 ratio
Chart: pH
| 7.1999999999999993 | 7.2999999999999989 | 7.3999999999999986 | 7.4999999999999982 | 7.5999999999999979 | 7.6999999999999975 | 7.7999999999999972 | 7.8999999999999968 | 7.9999999999999964
 | 12.0226 | 15.1356 | 19.0546 | 23.9883 | 30.1995 | 38.0189 | 47.863 | 60.256 | 75.8578
Notes: So to summarize…

## Slide 18
Summary
O2 calibration ✓
CO2 calibration in buffer ✓
CO2 calibration in HCL ✓
HCO3-/ CO2 ratio ✓
How do we calculate rates of O2 (vo) and CO2 (vc) consumption?
How do we calculate the concentrations (mM) of O2 and CO2 during the assays?
Notes: So to summarize…

## Slide 19
mV to CO2/O2 concentrations & rates
Boyd et al., 2015 Plant Physiology
CO2 mM
CO2 mM
Vmax = 3.5 mmol s-1
Km = 65 mM
Notes: Family
Diversity of Kranz types
Identification of single cells & History

## Slide 20
Labview MIMS interface
Notes: There is a well-supported hypothesis that low atmospheric CO2, high temperatures, and aridity which leads to high rates of photorespiration provided strong selective pressures for the evolution of C4 photosynthesis, which uses a spatial separated carbon concentrating mechanisms to supply high concentrations of CO2 to Rubisco.

## Slide 21
Labview MIMS interface
CO2 levels (mV 44 and 45)
Notes: There is a well-supported hypothesis that low atmospheric CO2, high temperatures, and aridity which leads to high rates of photorespiration provided strong selective pressures for the evolution of C4 photosynthesis, which uses a spatial separated carbon concentrating mechanisms to supply high concentrations of CO2 to Rubisco.

## Slide 22
Labview MIMS interface
CO2 and O2 slopes (mV S-1)
Notes: There is a well-supported hypothesis that low atmospheric CO2, high temperatures, and aridity which leads to high rates of photorespiration provided strong selective pressures for the evolution of C4 photosynthesis, which uses a spatial separated carbon concentrating mechanisms to supply high concentrations of CO2 to Rubisco.

## Slide 23
Labview MIMS interface
CO2 and O2 slopes (mV S-1)
Notes: There is a well-supported hypothesis that low atmospheric CO2, high temperatures, and aridity which leads to high rates of photorespiration provided strong selective pressures for the evolution of C4 photosynthesis, which uses a spatial separated carbon concentrating mechanisms to supply high concentrations of CO2 to Rubisco.

## Slide 24
Labview MIMS interface
Net rate of CO2 and O2 consumption (mV S-1)=
Extract - Blank
Notes: There is a well-supported hypothesis that low atmospheric CO2, high temperatures, and aridity which leads to high rates of photorespiration provided strong selective pressures for the evolution of C4 photosynthesis, which uses a spatial separated carbon concentrating mechanisms to supply high concentrations of CO2 to Rubisco.

## Slide 25
Labview MIMS interface
CO2 and O2 levels (mV)
Notes: There is a well-supported hypothesis that low atmospheric CO2, high temperatures, and aridity which leads to high rates of photorespiration provided strong selective pressures for the evolution of C4 photosynthesis, which uses a spatial separated carbon concentrating mechanisms to supply high concentrations of CO2 to Rubisco.

## Slide 26
Labview MIMS interface
Notes: There is a well-supported hypothesis that low atmospheric CO2, high temperatures, and aridity which leads to high rates of photorespiration provided strong selective pressures for the evolution of C4 photosynthesis, which uses a spatial separated carbon concentrating mechanisms to supply high concentrations of CO2 to Rubisco.

## Slide 27
Calculating CO2 and O2 concentrations
MIMS reading 32m/z
O2 calibration = temp solubility/water equilibrated with air
Buffer calibration with 100mM NaHCO3
MIMS reading 44m/z
MIMS reading 44m/z w/o CO2
Total C/CO2 ratio
Notes: So to summarize…

## Slide 28
Calculating CO2 and O2 concentrations
*-1000
Net rate of CO2 consumption
Buffer calibration with 100mM NaHCO3
Net rate of O2 consumption
O2 calibration = temp solubility/water equilibrated with air
Notes: So to summarize…

## Slide 29
Summary
O2 calibration ✓
CO2 calibration in buffer ✓
CO2 calibration in HCL ✓
HCO3-/ CO2 ratio ✓
How do we calculate rates of O2 (vo) and CO2 (vc) consumption? ✓
How do we calculate the concentrations (mM) of O2 and CO2 during the assays? ✓
Notes: So to summarize…